## input
Date" 17/12/2013 "User" "Dealer
Time" 1:36:03PM "Software version: 4.0
Example Laboratory
Sample/ctrl ID" "Pat/Ctr/cAl" "Test name" "Test type" "Result" "Result unit" "Result time" "STAT" "Status" "Errors" "Notes" "Dilution 1 +" "Manual dilution 1 +" "Response" "Blank response / Cal. voltage" "Side abs. (A)" "AE check value ()" "Nbr. of points used" "Main abs. 1" "Main abs. 2 / Factor" "Main abs. 3 / Bias" "Main abs. 4" "Main abs. 5" "Main abs. 6" "Main abs. 7" "Main abs. 8" "Main abs. 9" "Main abs. 10" "Main abs. 11" "Main abs. 12" "Blank side abs." "Blank abs. 1" "Blank abs. 2" "Blank abs. 3" "Blank abs. 4" "Blank abs. 5" "Blank abs. 6" "Blank abs. 7" "Blank abs. 8" "Blank abs. 9" "Blank abs. 10" "Blank abs. 11" "Blank abs. 12" "Rate (A/min)" "Calibrator conc.
"5082" "P" "AceticAcid" "P" "0.51329" "g/l" "13/12/2013 10:35:14 AM" "" "MA" "" "" "0.0" "0.0" "0.08343" "" "" "" "8" "0.86352" "0.89075" "0.91818" "0.94465" "0.97160" "0.99347" "1.01635" "1.03852" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"1" "P" "AceticAcid" "P" "0.42262" "g/l" "13/12/2013 12:24:44 PM" "" "MA" "" "" "0.0" "0.0" "0.07321" "" "" "" "8" "0.61214" "0.63641" "0.66068" "0.68229" "0.70548" "0.72550" "0.74694" "0.76609" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"2" "P" "AceticAcid" "P" "0.44006" "g/l" "13/12/2013 12:24:53 PM" "" "MA" "" "" "0.0" "0.0" "0.07525" "" "" "" "8" "0.63678" "0.66261" "0.68642" "0.70982" "0.73188" "0.75410" "0.77508" "0.79532" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"3" "P" "AceticAcid" "P" "0.43717" "g/l" "13/12/2013 12:25:20 PM" "" "MA" "" "" "0.0" "0.0" "0.07491" "" "" "" "8" "0.62184" "0.64713" "0.67070" "0.69404" "0.71623" "0.73722" "0.75973" "0.77906" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"HT52" "P" "AceticAcid" "P" "0.30719" "g/l" "13/12/2013 3:03:53 PM" "" "MA" "" "" "0.0" "0.0" "0.05889" "" "" "" "8" "0.58916" "0.61103" "0.62935" "0.65991" "0.66679" "0.68024" "0.69686" "0.71782" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"HT60" "P" "AceticAcid" "P" "0.41716" "g/l" "13/12/2013 3:04:02 PM" "" "MA" "" "" "0.0" "0.0" "0.07257" "" "" "" "8" "1.08498" "1.10883" "1.13216" "1.15518" "1.17732" "1.19768" "1.21809" "1.23702" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"918" "P" "AceticAcid" "P" "0.95047" "g/l" "13/12/2013 3:04:29 PM" "" "MA" "" "" "0.0" "0.0" "0.11984" "" "" "" "8" "1.28137" "1.32238" "1.36305" "1.39946" "1.43463" "1.47025" "1.50143" "1.53336" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"XLINE" "P" "AceticAcid" "P" "0.28444" "g/l" "13/12/2013 3:50:41 PM" "" "MA" "" "" "0.0" "0.0" "0.05589" "" "" "" "8" "0.80134" "0.81985" "0.83775" "0.85465" "0.87167" "0.88757" "0.90327" "0.91929" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "AceticAcid" "P" "0.27320" "g/l" "16/12/2013 5:54:44 AM" "" "MA" "" "" "0.0" "0.0" "0.05439" "" "" "" "8" "0.56242" "0.57989" "0.59734" "0.61474" "0.63010" "0.64590" "0.66165" "0.67686" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "Malo Therm" "P" "1.64283" "g/l" "16/12/2013 5:54:44 AM" "" "MA" "" "" "9.0" "0.0" "0.24969" "0.17195" "" "" "" "0.42164" "" "" "" "" "" "" "" "" "" "" "" "" "0.17195" "" "" "" "" "" "" "" "" "" "" "" "" ""
"4L X" "P" "AceticAcid" "P" "0.27950" "g/l" "16/12/2013 6:42:44 AM" "" "MA" "" "" "0.0" "0.0" "0.05523" "" "" "" "8" "0.53608" "0.55439" "0.57139" "0.58860" "0.60544" "0.62129" "0.63713" "0.65227" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"2L X" "P" "AceticAcid" "P" "0.53796" "g/l" "16/12/2013 7:06:44 AM" "" "MA" "" "" "0.0" "0.0" "0.08605" "" "" "" "8" "0.67998" "0.70903" "0.73716" "0.76373" "0.78959" "0.81445" "0.83772" "0.86077" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"SH CHA" "P" "AceticAcid" "P" "0.19717" "g/l" "16/12/2013 8:02:59 AM" "" "MA" "" "" "0.0" "0.0" "0.04386" "" "" "" "8" "0.51477" "0.52836" "0.54338" "0.55695" "0.56922" "0.58142" "0.59369" "0.60808" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"BATHBOX CHA" "P" "AceticAcid" "P" "0.48749" "g/l" "16/12/2013 8:59:32 AM" "" "MA" "" "" "0.0" "0.0" "0.08061" "" "" "" "8" "0.64868" "0.67462" "0.70112" "0.72615" "0.75022" "0.77379" "0.79612" "0.81757" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"972" "P" "AceticAcid" "P" "1.95591" "g/l" "16/12/2013 9:10:11 AM" "" "AR" "19 | 30 | " "R" "0.0" "0.0" "0.17428" "" "" "" "8" "1.48597" "1.54657" "1.60357" "1.65778" "1.70889" "1.75779" "1.80420" "1.85572" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"972" "P" "AceticAcid" "P" "1.92276" "g/l" "16/12/2013 9:21:44 AM" "" "MA" "" "R" "2.0" "0.0" "0.09626" "" "" "" "8" "0.77222" "0.80511" "0.83680" "0.86672" "0.89496" "0.92249" "0.94926" "0.97513" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"WB6" "P" "AceticAcid" "P" "1.42773" "g/l" "16/12/2013 9:42:26 AM" "" "AR" "19 | 30 | " "R" "0.0" "0.0" "0.14574" "" "" "" "8" "1.08636" "1.13742" "1.18670" "1.23234" "1.27618" "1.31719" "1.35567" "1.39347" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"WB7" "P" "AceticAcid" "P" "1.39877" "g/l" "16/12/2013 9:42:35 AM" "" "AR" "19 | 30 | " "R" "0.0" "0.0" "0.14417" "" "" "" "8" "1.08699" "1.13746" "1.18586" "1.22986" "1.27456" "1.31385" "1.35345" "1.39008" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"WB6" "P" "AceticAcid" "P" "1.41259" "g/l" "16/12/2013 9:53:59 AM" "" "MA" "" "R" "2.0" "0.0" "0.07876" "" "" "" "8" "0.61597" "0.64917" "0.66677" "0.69366" "0.71662" "0.73921" "0.76780" "0.78076" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"WB7" "P" "AceticAcid" "P" "1.34898" "g/l" "16/12/2013 9:54:26 AM" "" "MA" "" "R" "2.0" "0.0" "0.07636" "" "" "" "8" "0.61188" "0.63684" "0.65976" "0.68538" "0.70768" "0.73077" "0.74997" "0.77257" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"15L" "P" "AceticAcid" "P" "0.31127" "g/l" "16/12/2013 11:15:35 AM" "" "MA" "" "" "0.0" "0.0" "0.05942" "" "" "" "8" "0.56533" "0.58693" "0.60492" "0.62360" "0.64043" "0.65941" "0.67449" "0.69089" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"15L" "P" "AceticAcid" "P" "0.25844" "g/l" "16/12/2013 12:20:23 PM" "" "MA" "" "" "0.0" "0.0" "0.05239" "" "" "" "8" "0.53915" "0.55589" "0.57756" "0.58930" "0.60512" "0.62054" "0.63558" "0.65032" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"13 SH SSB" "P" "AceticAcid" "P" "0.26707" "g/l" "16/12/2013 3:33:08 PM" "" "MA" "" "" "0.0" "0.0" "0.05356" "" "" "" "8" "0.53373" "0.55108" "0.56791" "0.58446" "0.60113" "0.61647" "0.63127" "0.64591" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "Malo Therm" "P" "1.65697" "g/l" "17/12/2013 6:50:59 AM" "" "MA" "" "" "9.0" "0.0" "0.25180" "0.17290" "" "" "" "0.42470" "" "" "" "" "" "" "" "" "" "" "" "" "0.17290" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "AceticAcid" "P" "0.27323" "g/l" "17/12/2013 6:50:59 AM" "" "MA" "" "" "0.0" "0.0" "0.05439" "" "" "" "8" "0.55730" "0.57510" "0.59193" "0.60813" "0.62475" "0.64033" "0.65591" "0.67220" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"CHARD" "P" "AceticAcid" "P" "0.29064" "g/l" "17/12/2013 7:25:29 AM" "" "MA" "" "" "0.0" "0.0" "0.05671" "" "" "" "8" "0.56173" "0.57711" "0.59540" "0.61299" "0.63004" "0.64718" "0.66354" "0.67945" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"2L VER" "P" "AceticAcid" "P" "0.36355" "g/l" "17/12/2013 10:14:50 AM" "" "MA" "" "" "0.0" "0.0" "0.06607" "" "" "" "8" "0.61079" "0.63378" "0.65165" "0.67178" "0.69215" "0.71158" "0.73351" "0.74873" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.40653" "g/l" "17/12/2013 11:39:35 AM" "" "AR" "18 | " "R" "49.0" "0.0" "0.03728" "0.14240" "0.00066" "" "" "0.18035" "" "" "" "" "" "" "" "" "" "" "" "0.00080" "0.14320" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.34502" "g/l" "17/12/2013 11:40:02 AM" "" "AR" "18 | " "R" "49.0" "0.0" "0.03602" "0.14232" "0.00006" "" "" "0.17840" "" "" "" "" "" "" "" "" "" "" "" "0.00017" "0.14249" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.34135" "g/l" "17/12/2013 11:40:29 AM" "" "AR" "18 | " "R" "49.0" "0.0" "0.03595" "0.14181" "0.00008" "" "" "0.17784" "" "" "" "" "" "" "" "" "" "" "" "-0.00023" "0.14158" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.45429" "g/l" "17/12/2013 11:52:38 AM" "" "MA" "" "R" "0.0" "0.0" "1.49388" "0.25570" "0.00828" "" "" "1.75786" "" "" "" "" "" "" "" "" "" "" "" "0.00162" "0.25732" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.44379" "g/l" "17/12/2013 11:53:05 AM" "" "MA" "" "R" "0.0" "0.0" "1.48315" "0.25609" "0.01528" "" "" "1.75452" "" "" "" "" "" "" "" "" "" "" "" "0.00206" "0.25815" "" "" "" "" "" "" "" "" "" "" "" "" ""
"LS" "P" "GF Thermo" "P" "1.44489" "g/l" "17/12/2013 11:53:32 AM" "" "MA" "" "R" "0.0" "0.0" "1.48427" "0.25601" "0.00039" "" "" "1.74067" "" "" "" "" "" "" "" "" "" "" "" "0.00055" "0.25656" "" "" "" "" "" "" "" "" "" "" "" "" ""
"15L CME" "P" "AceticAcid" "P" "0.47553" "g/l" "17/12/2013 12:35:59 PM" "" "MA" "" "" "0.0" "0.0" "0.07928" "" "" "" "8" "1.03685" "1.06261" "1.08777" "1.11318" "1.13657" "1.15962" "1.18171" "1.20334" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"15L CME" "P" "Acetic ANP" "P" "0.23016" "g/l" "17/12/2013 12:36:26 PM" "" "MA" "" "" "0.0" "0.0" "0.15569" "0.22508" "" "" "" "0.38077" "" "" "" "" "" "" "" "" "" "" "" "" "0.22508" "" "" "" "" "" "" "" "" "" "" "" "" ""
"4L VER" "P" "AceticAcid" "P" "0.35477" "g/l" "17/12/2013 1:10:20 PM" "" "MA" "" "" "0.0" "0.0" "0.06497" "" "" "" "8" "0.61392" "0.64420" "0.65668" "0.67681" "0.69752" "0.71679" "0.73560" "0.75412" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" "" ""
"4L VER" "P" "Acetic ANP" "P" "0.06920" "g/l" "17/12/2013 1:10:47 PM" "" "MA" "" "" "0.0" "0.0" "0.12681" "0.13535" "" "" "" "0.26216" "" "" "" "" "" "" "" "" "" "" "" "" "0.13535" "" "" "" "" "" "" "" "" "" "" "" "" ""