## Sheet1
Weights calibrated measuring a pure Bi standard, bulk, polished | [6 empty] | M3_O5 added despite beiong missing from NIST databse, because it seemed like it was present in the spectra
Area of all peaks is fitted
A constant shift or broadening is maintained across all peaks
Bi |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Ma1 |  | 56.338 | 59.239 | 56.229 | 56.691 | 57.001 | 58.942 | 58.445 | 58.795 | 56.314 | 57.773
Ma2 | area fixed | 56.338 | 59.239 | 56.229 | 56.691 | 57.001 | 58.942 | 58.445 | 58.795 | 56.314 | 57.773
M3N1 |  | 0.568 | 1.642 | 1.843 | 1.4 | 0.961 | 1.604 | 1.375 | 1.502 | 0.809 | 0.938
M5O3 |  | 8.413 | 3.422 | 12.842 | 10.6 | 7.615 | 5.092 | 7.004 | 1.179 | 9.05 | 5.864
Mb |  | 62.39 | 69.528 | 62.922 | 66.2 | 67.972 | 69.347 | 70.539 | 70.854 | 66.002 | 69.179
M4O2 |  | 2.863 | 0.8 | 3.121 | 1.489 | 0.001 | 0.202 | 0.005 | 0 | 0.03 | 0
M3N4 |  | 2.066 | 2.57 | 1.751 | 1.034 | 2.333 | 5.393 | 4.323 | 0.767 | 3.383 | 4.961
Mg |  | 1.564 | 2.991 | 2.467 | 2.859 | 1.612 | 0.001 | 0.039 | 4.724 | 0.001 | 0.013
M2N1 |  | 2.323 | 0.121 | 1.31 | 1.018 | 1.721 | 1.97 | 1.097 | 0 | 2.121 | 1.299
M3N4 + Mg + M2N1 |  | 5.953 | 5.682 | 5.528 | 4.911 | 5.666 | 7.364 | 5.459 | 5.491 | 5.505 | 6.273
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Ma1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ma2 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
M3N1 | 0.02474 | 0.010082 | 0.027718 | 0.032777 | 0.024695 | 0.016859 | 0.027213 | 0.023526 | 0.025546 | 0.014366 | 0.016236 | 0.021902 | 0.0071341 | 32.5728
M5O3 | 0.001 | 0.14933 | 0.027718 | 0.032777 | 0.024695 | 0.016859 | 0.027213 | 0.023526 | 0.025546 | 0.014366 | 0.016236 | 0.035827 | 0.040301 | 112.488
Mb | 0.64 | 1.1074 | 1.1737 | 1.119 | 1.1677 | 1.1925 | 1.1765 | 1.2069 | 1.2051 | 1.172 | 1.1974 | 1.1718 | 0.033991 | 2.9007
M4O2 | 0.01 | 0.050818 | 0.013505 | 0.055505 | 0.026265 | 1.7544e-05 | 0.0034271 | 8.5551e-05 | 0 | 0.00053273 | 0 | 0.015016 | 0.02184 | 145.4491
M5O3 + Mb + M4O2 | 0.651 | 1.3076 | 1.2149 | 1.2073 | 1.2187 | 1.2093 | 1.2072 | 1.2305 | 1.2306 | 1.1869 | 1.2137 | 1.2227 | 0.032355 | 2.6463
M3N4 | 0.05 | 0.036672 | 0.043384 | 0.031141 | 0.018239 | 0.040929 | 0.091497 | 0.073967 | 0.013045 | 0.060074 | 0.085871 | 0.049482 | 0.027316 | 55.205
Mg | 0.21845 | 0.027761 | 0.05049 | 0.043874 | 0.050431 | 0.02828 | 1.6966e-05 | 0.00066729 | 0.080347 | 1.7758e-05 | 0.00022502 | 0.028211 | 0.028058 | 99.4586
M2N1 | 0.00285 | 0.041233 | 0.0020426 | 0.023298 | 0.017957 | 0.030192 | 0.033423 | 0.01877 | 0 | 0.037664 | 0.022485 | 0.022706 | 0.01382 | 60.863
M3N4 + Mg + M2N1 | 0.2713 | 0.10567 | 0.095917 | 0.098312 | 0.086628 | 0.099402 | 0.12494 | 0.093404 | 0.093392 | 0.097755 | 0.10858 | 0.1004 | 0.010629 | 10.5871
The fitting of peaks M3N4 + Mg + M2N1 varies, but their sum is constant and equal to 0.0105
So we use the original ratios to diustribute the sum among the 3 peaks, giving:
| M3N4 | Mg | M2N1 | Sum |  |  |  |  | M5O3 | Mb | M4O2 | Sum
Original ratio | 0.1843 | 0.8052 | 0.010505 |  |  |  |  | Original ratio | 0.0015361 | 0.9831 | 0.015361
Resulting weights: | 0.018503 | 0.080841 | 0.0010547 | 0.1004 |  |  |  | Resulting weights: | 0.0018782 | 1.202 | 0.018782 | 1.2227
Too far from the fitted values! We use the fitted vals
Without fixing the peaks above: