## Sheet1
Weights calibrated measuring a pure In standard, bulk, polished | [10 empty] | Weights unchanged
Area of all peaks is fitted | [10 empty] | Weights changed
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks La2, Lb1 and Lg5 are weighted and fixed on original weights because strongly overlapping with La1
In |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 115.455 | 112.664 | 111.463 | 114.038 | 112.078 | 119.509 | 121.132 | 122.856 | 113.76 | 109.379
Ll |  | 4.579 | 4.289 | 3.81 | 4.503 | 4.743 | 5.187 | 5.515 | 5.289 | 4.347 | 5.028
Ln |  | 1.699 | 2.036 | 1.607 | 2.277 | 1.598 | 2.888 | 2.597 | 2.623 | 2.524 | 2.145
Lb3 |  | 8.146 | 11.813 | 10.024 | 12.166 | 8.378 | 11.042 | 13.181 | 11.16 | 11.438 | 11.052
Lb4 |  | 3.744 | 0.271 | 2.957 | 0 | 4.53 | 1.794 | 0 | 1.235 | 0 | 3.185
Lb1 |  | 53.802 | 53.593 | 52.328 | 54.558 | 51.156 | 57.76 | 57.588 | 57.235 | 54.856 | 48.852
Lb2 |  | 15.351 | 10.106 | 12.206 | 13.016 | 15.1 | 14.441 | 15.784 | 14.244 | 15.628 | 11.421
Lb7 |  | 0.822 | 5.305 | 3.453 | 1.823 | 0.004 | 1.962 | 0.001 | 2.409 | 0 | 3.791
Lb10 |  | 0 | 0.074 | 0 | 0.102 | 0.998 | 0.007 | 0.005 | 0 | 0 | 0
Lg5 |  | 0 | 0.004 | 0 | 0 | 0.008 | 0.246 | 0.706 | 0 | 0.356 | 0
L2N3 |  | 0.32 | 0 | 0 | 0 | 0.352 | 0 | 0.001 | 0.922 | 0 | 0
Lg1 |  | 2.294 | 2.544 | 1.044 | 2.369 | 2.339 | 0.182 | 2.324 | 3.308 | 1.601 | 2.624
Lg8 |  | 1.92 | 2.119 | 4.151 | 2.733 | 2.159 | 4.343 | 2.54 | 1.234 | 3.317 | 2.496
Lg11 |  | 0.366 | 0 | 0 | 0 | 0 | 0 | 0 | 0.113 | 0.027 | 0
Lg2 |  | 0.493 | 0.283 | 0.723 | 0.868 | 0.743 | 0.002 | 0.624 | 0 | 0.61 | 0.243
Lg3 |  | 0.671 | 1.223 | 0.989 | 0.804 | 0.661 | 1.917 | 1.031 | 1.175 | 0.751 | 1.755
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 0.0415 | 0.03966 | 0.038069 | 0.034182 | 0.039487 | 0.042319 | 0.043403 | 0.045529 | 0.04305 | 0.038212 | 0.045969 | 0.040988 | 0.0037096 | 9.0504
Ln | 0.0132 | 0.014716 | 0.018071 | 0.014417 | 0.019967 | 0.014258 | 0.024166 | 0.021439 | 0.02135 | 0.022187 | 0.019611 | 0.019018 | 0.0035328 | 18.5757
Lb3 | 0.08779 | 0.070556 | 0.10485 | 0.089931 | 0.10668 | 0.074752 | 0.092395 | 0.10882 | 0.090838 | 0.10055 | 0.10104 | 0.094041 | 0.01308 | 13.909
Lb4 | 0.05349 | 0.032428 | 0.0024054 | 0.026529 | 0 | 0.040418 | 0.015011 | 0 | 0.010052 | 0 | 0.029119 | 0.015596 | 0.015408 | 98.7918
Lb1 | 0.3616 | 0.466 | 0.47569 | 0.46947 | 0.47842 | 0.45643 | 0.48331 | 0.47542 | 0.46587 | 0.48221 | 0.44663 | 0.46994 | 0.011654 | 2.4798
Lb1 + Lb3 + Lb4 | 0.50288 | 0.56898 | 0.58295 | 0.58593 | 0.5851 | 0.5716 | 0.59072 | 0.58423 | 0.56676 | 0.58275 | 0.57679 | 0.57958 | 0.0080681 | 1.3921
Lb2 | 0.1371 | 0.13296 | 0.0897 | 0.10951 | 0.11414 | 0.13473 | 0.12084 | 0.1303 | 0.11594 | 0.13738 | 0.10442 | 0.11899 | 0.015295 | 12.8538
Lb7 | 0.0004 | 0.0071197 | 0.047087 | 0.030979 | 0.015986 | 3.5689e-05 | 0.016417 | 8.2555e-06 | 0.019608 | 0 | 0.034659 | 0.01719 | 0.016273 | 94.668
Lb2 + Lb7 | 0.1375 | 0.14008 | 0.13679 | 0.14049 | 0.13012 | 0.13476 | 0.13725 | 0.13031 | 0.13555 | 0.13738 | 0.13908 | 0.13618 | 0.0036304 | 2.6658
Lb10 | 0.0054 | 0 | 0.00065682 | 0 | 0.00089444 | 0.0089045 | 5.8573e-05 | 4.1277e-05 | 0 | 0 | 0 | 0.0010556 | 0.0027766 | 263.0432
Lg5 | 0.0027 | 0 | 3.5504e-05 | 0 | 0 | 7.1379e-05 | 0.0020584 | 0.0058284 | 0 | 0.0031294 | 0 | 0.0011123 | 0.0019898 | 178.8905
L2N3 | 0.0027 | 0.0027716 | 0 | 0 | 0 | 0.0031407 | 0 | 8.2555e-06 | 0.0075047 | 0 | 0 | 0.0013425 | 0.0024909 | 185.5406
Lb10 + Lg5 + L2N3 | 0.0108 | 0.0027716 | 0.00069232 | 0 | 0.00089444 | 0.012117 | 0.002117 | 0.0058779 | 0.0075047 | 0.0031294 | 0 | 0.0035104 | 0.0039114 | 111.4222
Lg1 | 0.04535 | 0.019869 | 0.02258 | 0.0093663 | 0.020774 | 0.020869 | 0.0015229 | 0.019186 | 0.026926 | 0.014073 | 0.02399 | 0.017916 | 0.0075919 | 42.3759
Lg8 | 0.0003 | 0.01663 | 0.018808 | 0.037241 | 0.023966 | 0.019263 | 0.03634 | 0.020969 | 0.010044 | 0.029158 | 0.02282 | 0.023524 | 0.00857 | 36.4309
Lg1 + Lg8 | 0.04565 | 0.036499 | 0.041389 | 0.046607 | 0.044739 | 0.040133 | 0.037863 | 0.040155 | 0.03697 | 0.043231 | 0.04681 | 0.04144 | 0.0038032 | 9.1778
Lg11 | 0.0002 | 0.0031701 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00091978 | 0.00023734 | 0 | 0.00043272 | 0.0010044 | 232.1116
Lg2 | 0.00105 | 0.0042701 | 0.0025119 | 0.0064865 | 0.0076115 | 0.0066293 | 1.6735e-05 | 0.0051514 | 0 | 0.0053622 | 0.0022216 | 0.0040261 | 0.0027209 | 67.5812
Lg3 | 0.0177 | 0.0058118 | 0.010855 | 0.0088729 | 0.0070503 | 0.0058977 | 0.016041 | 0.0085114 | 0.009564 | 0.0066016 | 0.016045 | 0.0095251 | 0.0037977 | 39.8709
Lg2 + Lg3 | 0.01875 | 0.010082 | 0.013367 | 0.015359 | 0.014662 | 0.012527 | 0.016057 | 0.013663 | 0.009564 | 0.011964 | 0.018267 | 0.013551 | 0.0026785 | 19.7658
Fits whose peak areas vary, but whose sum is almost cosntant:
So we use the original ratios to diustribute the sum among the 2 peaks, giving:
Lb1 + Lb3 + Lb4 | Lb1 | Meas 1: Lb3; Meas 2: Lb4; Meas 3: Sum
Original ratio | 0.71906 | Meas 1: 0.17457; Meas 2: 0.10637; Meas 3: 1
Resulting weights: | 0.41675 | Meas 1: 0.10118; Meas 2: 0.061649; Meas 3: 0.57958
Lg2 + Lg3 | Lg2 | Meas 1: Lg3; Meas 2: Sum
Original ratio | 0.056 | Meas 1: 0.944; Meas 2: 1
Resulting weights: | 0.00075887 | Meas 1: 0.012792; Meas 2: 0.013551; Meas 4: In this case we leave Lg2 unchanged anf change Lg3 accordingly; Meas 9: Lg3:; Meas 10: 0.012501
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks: