## Sheet1
Weights calibrated measuring a pure In standard, bulk, polished | [10 empty] | Weights unchanged
Area of all peaks is fitted | [10 empty] | Weights changed
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks La2, Lb1 and Lg5 are weighted and fixed on original weights because strongly overlapping with La1
In |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Mz1 |  | 13.576 | 13.262 | 11.44 | 12.614 | 12.234 | 13 | 13.95 | 12.905 | 11.995 | 12.488
M3N1 |  | 1.297 | 1.606 | 2.873 | 5.074 | 2.773 | 3.223 | 1.439 | 2.217 | 2.802 | 1.649
M2N1 |  | 0 | 0.067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.289
Mg |  | 0.334 | 0.411 | 0.262 | 0.505 | 0.068 | 0.757 | 0.327 | 0.151 | 0.57 | 0.307
M2N4 |  | 0.974 | 0.779 | 0.548 | 0.847 | 1.257 | 0.828 | 0.919 | 0.922 | 0.796 | 0.808
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Mz1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
M3N1 | 0.01 | 0.095536 | 0.1211 | 0.25114 | 0.40225 | 0.22666 | 0.24792 | 0.10315 | 0.17179 | 0.2336 | 0.13205 | 0.19852 | 0.094025 | 47.3628
M2N1 | 0.05 | 0 | 0.005052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023142 | 0.0028194 | 0.0073151 | 259.453
M3N1 + M2N1 | 0.06 | 0.095536 | 0.12615 | 0.25114 | 0.40225 | 0.22666 | 0.24792 | 0.10315 | 0.17179 | 0.2336 | 0.15519 | 0.20134 | 0.092007 | 45.6976
Mg | 0.2 | 0.024602 | 0.030991 | 0.022902 | 0.040035 | 0.0055583 | 0.058231 | 0.023441 | 0.011701 | 0.04752 | 0.024584 | 0.028956 | 0.015912 | 54.9529
M2N4 | 0.01 | 0.071744 | 0.058739 | 0.047902 | 0.067148 | 0.10275 | 0.063692 | 0.065878 | 0.071445 | 0.066361 | 0.064702 | 0.068036 | 0.013985 | 20.5554
Mg + M2N4 | 0.21 | 0.096346 | 0.08973 | 0.070804 | 0.10718 | 0.1083 | 0.12192 | 0.089319 | 0.083146 | 0.11388 | 0.089286 | 0.096992 | 0.01559 | 16.0738
Fits whose peak areas vary, but whose sum is almost cosntant:
So we use the original ratios to diustribute the sum among the 2 peaks, giving:
M3N1 + M2N1 | M3N1 | Meas 1: M2N1; Meas 2: Sum
Original ratio | 0.16667 | Meas 1: 0.83333
Resulting weights: | 0.033557 | Meas 1: 0.16778; Meas 2: 0.20134
Mg + M2N4 | Mg | Meas 1: M2N4; Meas 2: Sum
Original ratio | 0.95238 | Meas 1: 0.047619
Resulting weights: | 0.092374 | Meas 1: 0.0046187; Meas 2: 0.096992
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks: