## Sheet1
Weights calibrated measuring a pure V standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Area of peak Ka2 is weighted and fixed on original weights because strongly overlapping with Ka1
Mn |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Ka1 |  | 522.901 | 524.562 | 528.331 | 522.03 | 472.189 | 524.84 | 448.039 | 517.645 | 523.378 | 522.839
Kb1 |  | 53.988 | 38.784 | 44.014 | 67.975 | 63.511 | 47.108 | 62.866 | 33.712 | 57.432 | 41.265
Kb3 |  | 50.417 | 65.196 | 61.127 | 37.486 | 32.412 | 59.723 | 26.633 | 69.766 | 44.683 | 63.295
Kb1 + Kb3 |  | 104.405 | 103.98 | 105.141 | 105.461 | 95.923 | 106.831 | 89.499 | 103.478 | 102.115 | 104.56
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Ka1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Kb1 | 0.108 | 0.10325 | 0.073936 | 0.083308 | 0.13021 | 0.1345 | 0.089757 | 0.14031 | 0.065126 | 0.10973 | 0.078925 | 0.10091 | 0.026975 | 26.7327
Kb3 | 0.062 | 0.096418 | 0.12429 | 0.1157 | 0.071808 | 0.068642 | 0.11379 | 0.059443 | 0.13478 | 0.085374 | 0.12106 | 0.09913 | 0.026503 | 26.7353
Kb1 + Kb3 | 0.17 | 0.19966 | 0.19822 | 0.19901 | 0.20202 | 0.20315 | 0.20355 | 0.19976 | 0.1999 | 0.19511 | 0.19999 | 0.20004 | 0.0024682 | 1.2339
The fitting of peaks Kb1 + Kb3 varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Kb1 | Meas 1: Kb3; Meas 2: Sum
Original ratio | 0.63529 | Meas 1: 0.36471
Resulting weights: | 0.12708 | Meas 1: 0.072954; Meas 2: 0.20004
|  | Without improvement of Kb1, Kb3 weights: | [8 empty] | With unconstrained peak area