## Sheet1
Weights calibrated measuring a pure Pb standard, bulk, polished
Area of all peaks is fitted
A constant shift or broadening is maintained across all peaks
Line |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Pb_Ma1 |  | 59.865 | 59.417 | 55.155 | 54.792 | 54.404 | 54.16 | 55.873 | 50.563 | 51.923 | 55.308
Pb_Ma2 | area fixed | 59.865 | 59.417 | 55.155 | 54.792 | 54.404 | 54.16 | 55.873 | 50.563 | 51.923 | 55.308
Pb_M5O3 |  | 1.935 | 3.41 | 4.211 | 5.954 | 5.573 | 7.149 | 7.32 | 8.205 | 4.74 | 12.341
Pb_Mb |  | 70.325 | 69.552 | 64.027 | 65.021 | 65.813 | 64.081 | 71.057 | 61.7 | 64.85 | 65.112
Pb_M4O2 |  | 0.002 | 0.033 | 0 | 0.577 | 0.499 | 3.128 | 0.182 | 0 | 0 | 7.183
Pb_M3N4 |  | 2.894 | 4.55 | 4.295 | 1.23 | 2.302 | 2.551 | 3.907 | 3.066 | 4.95 | 3.613
Pb_Mg |  | 2.141 | 0.024 | 1.332 | 4.219 | 1.497 | 2.292 | 0 | 0.874 | 0 | 0
Pb_M2N1 |  | 0.091 | 1.157 | 0.01 | 0.002 | 1.484 | 1.294 | 1.466 | 2.035 | 1.279 | 1.872
M3N4 + Mg + M2N1 |  | 5.126 | 5.731 | 5.637 | 5.451 | 5.283 | 6.137 | 5.373 | 5.975 | 6.229 | 5.485
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Pb_Ma1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Pb_Ma2 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Pb_M5O3 | 0.0001 | 0.032323 | 0.057391 | 0.076348 | 0.10867 | 0.10244 | 0.132 | 0.13101 | 0.16227 | 0.091289 | 0.22313 | 0.11169 | 0.05454 | 48.8327
Pb_Mb | 0.64 | 1.1747 | 1.1706 | 1.1609 | 1.1867 | 1.2097 | 1.1832 | 1.2718 | 1.2203 | 1.249 | 1.1773 | 1.2004 | 0.036612 | 3.05
Pb_M4O2 | 0.01 | 3.3409e-05 | 0.0005554 | 0 | 0.010531 | 0.0091721 | 0.057755 | 0.0032574 | 0 | 0 | 0.12987 | 0.021118 | 0.042096 | 199.342
M5O3 + Mb + M4O2 | 0.6501 | 1.2071 | 1.2285 | 1.2372 | 1.3059 | 1.3213 | 1.3729 | 1.406 | 1.3825 | 1.3403 | 1.5303 | 1.3332 | 0.097278 | 7.2966
Pb_M3N4 | 0.05 | 0.048342 | 0.076577 | 0.077871 | 0.022449 | 0.042313 | 0.047101 | 0.069926 | 0.060637 | 0.095333 | 0.065325 | 0.060588 | 0.02106 | 34.7596
Pb_Mg | 0.21845 | 0.035764 | 0.00040392 | 0.02415 | 0.077 | 0.027516 | 0.042319 | 0 | 0.017285 | 0 | 0 | 0.022444 | 0.024947 | 111.1514
Pb_M2N1 | 0.00285 | 0.0015201 | 0.019473 | 0.00018131 | 3.6502e-05 | 0.027277 | 0.023892 | 0.026238 | 0.040247 | 0.024633 | 0.033847 | 0.019734 | 0.014386 | 72.8968
M3N4 + Mg + M2N1 | 0.2713 | 0.085626 | 0.096454 | 0.1022 | 0.099485 | 0.097107 | 0.11331 | 0.096165 | 0.11817 | 0.11997 | 0.099172 | 0.10277 | 0.010942 | 10.6476
The fitting of peaks M3N4 + Mg + M2N1 varies, but their sum is constant and equal to 0.0105
So we use the original ratios to diustribute the sum among the 3 peaks, giving:
| M3N4 | Mg | M2N1 | Sum |  |  |  |  | M5O3 | Mb | M4O2 | Sum
Original ratio | 0.1843 | 0.8052 | 0.010505 |  |  |  |  | Original ratio | 0.00015382 | 0.98446 | 0.015382
Resulting weights: | 0.01894 | 0.082747 | 0.0010796 | 0.10277 |  |  |  | Resulting weights: | 0.00020508 | 1.3125 | 0.020508 | 1.3332
Too far from the fitted values! We use the fitted vals
Without fixing the peaks above: