## Sheet1
Weights calibrated measuring a pure Ti standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Se |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 841.49 | 876.135 | 879.022 | 923.743 | 985.892 | 906.304 | 877.935 | 914.084 | 855.371 | 895.97
Ll |  | 40.384 | 42.122 | 41.441 | 45.15 | 45.044 | 42.665 | 41.743 | 42.816 | 41.666 | 43.034
Ln |  | 21.428 | 18.301 | 20.443 | 17.909 | 17.89 | 18.641 | 20.474 | 19.405 | 20.031 | 17.9
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 0.0345 | 0.047991 | 0.048077 | 0.047144 | 0.048877 | 0.045689 | 0.047076 | 0.047547 | 0.04684 | 0.048711 | 0.048031 | 0.047598 | 0.00095146 | 1.9989
Ln | 0.013 | 0.025464 | 0.020888 | 0.023257 | 0.019387 | 0.018146 | 0.020568 | 0.023321 | 0.021229 | 0.023418 | 0.019978 | 0.021566 | 0.0022384 | 10.3796
Ll + Ln | 0.0475 | 0.073455 | 0.068965 | 0.070401 | 0.068265 | 0.063835 | 0.067644 | 0.070867 | 0.068069 | 0.072129 | 0.068009 | 0.069164 | 0.0027025 | 3.9074
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Ll | Meas 1: Ln; Meas 2: Sum
Original ratio | 0.72632 | Meas 1: 0.27368
Resulting weights: | 0.050235 | Meas 1: 0.018929; Meas 2: 0.069164
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: