## Sheet1
Weights calibrated measuring a pure V standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Area of peak Ka2 is weighted and fixed on original weights because strongly overlapping with Ka1
Si |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
Ka1 |  | 277.343 | 278.719 | 279.476 | 277.1135 | 277.007 | 256.074 | 278.541 | 278.833 | 278.999 | 275.053
Kb1 |  | 9.939 | 19.721 | 9.136 | 8.267 | 9.403 | 8.056 | 9.128 | 9.816 | 9.078 | 8.453
Kb3 |  | 9.939 | 0.007 | 9.136 | 8.267 | 9.403 | 8.056 | 9.128 | 9.816 | 9.078 | 8.453
Kb1 + Kb3 |  | 19.878 | 19.728 | 18.272 | 16.534 | 18.806 | 16.112 | 18.256 | 19.632 | 18.156 | 16.906
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
Ka1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Kb1 | 0.0316 | 0.035836 | 0.070756 | 0.03269 | 0.029833 | 0.033945 | 0.03146 | 0.032771 | 0.035204 | 0.032538 | 0.030732 | 0.036576 | 0.012153 | 33.2269
Kb3 | 0.0158 | 0.035836 | 2.5115e-05 | 0.03269 | 0.029833 | 0.033945 | 0.03146 | 0.032771 | 0.035204 | 0.032538 | 0.030732 | 0.029503 | 0.010524 | 35.6704
Kb1 + Kb3 | 0.0474 | 0.071673 | 0.070781 | 0.065379 | 0.059665 | 0.06789 | 0.062919 | 0.065542 | 0.070408 | 0.065076 | 0.061465 | 0.06608 | 0.0040773 | 6.1703
The fitting of peaks Kb1 + Kb3 varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Kb1 | Meas 1: Kb3; Meas 2: Sum
Original ratio | 0.66667 | Meas 1: 0.33333
Resulting weights: | 0.044053 | Meas 1: 0.022027; Meas 2: 0.06608
|  | Without improvement of Kb1, Kb3 weights: | [8 empty] | With unconstrained peak area