## Sheet1
Weights calibrated measuring a pure Ti standard, bulk, polished
Area of all peaks is fitted
A constant shift is maintained across all peaks
Sigma is fixed for all peaks
Areas of peaks La2, Lb17 and Lg5 are fixed on original weights because strongly overlapping with La1
Ti |  | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10
La1 |  | 54.997 | 55.125 | 52.413 | 53.59 | 52.845 | 54.537 | 56.565 | 55.052 | 51.621 | 55.9
Ll |  | 93.917 | 113.319 | 83.462 | 85.938 | 116.725 | 112.659 | 76.871 | 98.302 | 92.923 | 76.038
Ln |  | 37.763 | 17.725 | 43.44 | 40.1 | 14.804 | 20.683 | 59.094 | 28.414 | 34.138 | 56.102
Lb3 |  | 0.001 | 0.028 | 2.803 | 4.978 | 0.589 | 2.751 | 6.352 | 3.428 | 4.219 | 4.636
Lb4 |  | 0.001 | 0.028 | 2.803 | 4.978 | 0.589 | 2.751 | 6.352 | 3.428 | 4.219 | 4.636
Line | Original w | Meas 1 | Meas 2 | Meas 3 | Meas 4 | Meas 5 | Meas 6 | Meas 7 | Meas 8 | Meas 9 | Meas 10 | Mean | Stdev | Er (%)
La1 | 1 | [10 empty] | 1 | bar: Meas 1 to Meas 10
Ll | 1.6234 | 1.7077 | 2.0557 | 1.5924 | 1.6036 | 2.2088 | 2.0657 | 1.359 | 1.7856 | 1.8001 | 1.3603 | 1.7539 | 0.29062 | 16.5699
Ln | 0.799 | 0.68664 | 0.32154 | 0.8288 | 0.74827 | 0.28014 | 0.37925 | 1.0447 | 0.51613 | 0.66132 | 1.0036 | 0.64704 | 0.27075 | 41.8446
Ll + Ln | 2.4224 | 2.3943 | 2.3772 | 2.4212 | 2.3519 | 2.489 | 2.445 | 2.4037 | 2.3018 | 2.4614 | 2.3639 | 2.4009 | 0.055765 | 2.3227
Lb3 | 0.257 | 1.8183e-05 | 0.00050794 | 0.053479 | 0.09289 | 0.011146 | 0.050443 | 0.1123 | 0.062268 | 0.08173 | 0.082934 | 0.054771 | 0.039727 | 72.5329
Lb4 | 0.134 | 1.8183e-05 | 0.00050794 | 0.053479 | 0.09289 | 0.011146 | 0.050443 | 0.1123 | 0.062268 | 0.08173 | 0.082934 | 0.054771 | 0.039727 | 72.5329
Lb3 + Lb4 | 0.391 | 3.6366e-05 | 0.0010159 | 0.10696 | 0.18578 | 0.022292 | 0.10089 | 0.22459 | 0.12454 | 0.16346 | 0.16587 | 0.10954 | 0.079454 | 72.5329
The fitting of peaks Lb3 + Lb4 varies, but their sum is more or less constant |  | Meas 6: The fitting of peaks Ll + Ln varies, but their sum is more or less constant
So we use the original ratios to diustribute the sum among the 2 peaks, giving: |  | Meas 6: So we use the original ratios to diustribute the sum among the 2 peaks, giving:
| Lb3 | Meas 1: Lb4; Meas 2: Sum; Meas 7: Ll; Meas 8: Ln; Meas 9: Sum
Original ratio | 0.65729 | Meas 1: 0.34271; Meas 6: Original ratio; Meas 7: 0.67016; Meas 8: 0.32984
Resulting weights: | 0.072001 | 0.037541 | 0.10954 |  |  |  | Resulting weights: | 1.609 | 0.79192 | 2.4009
|  | Without fixing the peaks above: | [8 empty] | Fixing the peaks above: