## Sheet1
Space Information |  |  | All Items / Equipment Tree Information |  |  |  | Network Information (MSTP and IP) | [12 empty] | Definitions and Templates |  | Parameters
Site/Building/Floor (Required) | Room Number (Optional) | Leaf Space (e.g. Room) (Required) | Device and Equipment Name (Required) | Device and Equipment FQR Reference (Required) | Served By Equipment Name (Required) | Controller Part # (Optional) | Engine Name (Required) | Trunk Name (Required) | Controller Host Name (Future) | JCI MAC Address | IP Controller Number | ZIGBEE PAN Offset | Instance # (BACoid) | DHCP Enabled | IP Address | Subnet Mask | IP Router | ETH-1 (Optional) | ETH-2 (Optional) | Equipment Definition Name (Optional) | Controller Template Name (Required) | SA-AREA | SA-KFACTOR | CLG-MAXFLOW | CLGOCC-MINFLOW | HTGOCC-MINFLOW
|  |  | Attribute ID | [18 empty] | AV3111 | AV3112 | AV3108 | AV3109 | AV3110
|  |  | Attribute Type | [18 empty] | Default Value | Default Value | Default Value | Default Value | Default Value
Site A/Building X/Floor 1 | 101 | 101 Meeting Room | VAV-01-01 | VAV-01-01 | X-AHU-1 | MS-VMA1630-1 | X4THFLNAE | FC-1 |  | 42 |  |  | 51 | [6 empty] | X-VAV-RH+OCC | X-VAV-RH+OCC | 0.124 | 2.131 | 212 | 167
Site A/Building X/Floor 2 | 201 | 201 Office | VAV-02-01 | VAV-02-01 | X-AHU-2 | MS-VMA1630-1 | X4THFLNAE | FC-1 |  | 43 |  |  | 52 | [6 empty] | X-VAV-RH+OCC+CO2 | X-VAV-RH+OCC+CO2 | 0.144 | 2.196 | 399 | 265