## C-12 Residential
COMNET Appendix C - Schedules (Rev 3)
Updated June 25, 2023
C-12 Residential | [12 empty] | Hour Ending
Description | Type | Day | 1am | 2am | 3am | 4am | 5am | 6am | 7am | 8am | 9am | 10am | 11am | 12am | 1pm | 2pm | 3pm | 4pm | 5pm | 6pm | 7pm | 8pm | 9pm | 10pm | 11pm | 12pm | Max | Min | Sum | Year |  | Source/Notes | General Notes
Occupancy | Fraction | WD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 | 6040.75 |  | SSPC 90.1 | Used for:
|  | Fri | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  |  |  | Dormitory
|  | Sat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  |  |  | Multifamily
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1 | 2591.5 |  | SSPC 90.1
|  | Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1
Receptacle | Fraction | WD | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840 |  | SSPC 90.1
|  | Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 |  |  | Receptacle = rest of appliances
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | SSPC 90.1 | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | Derived from CEC infiltration | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | schedule | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
ClgSetPt | Temperature | WD | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |  | SSPC 90.1
|  | Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
HtgSetPt | Temperature | WD | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 |  |  | SSPC 90.1
|  | Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628 |  | CEC
|  | Fri | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 |  |  | CEC
|  | Fri | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Gas Equip | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Elevator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Escalator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CEC Appendix 5.4B Residential Occupancy Living Areas (Including Hotel/Motel Guest Rooms) with Setback Thermostat for Heating
ResidentialLiving |  | :Schedule Name
Hour of Day
Description |  | Daily Sch | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Max | Min | Sum | Year
Occupancy | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5073.5
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Receptacle | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Infiltration | Fraction | WD | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6 | 2190
|  | Sat | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
|  | Sun | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
ClgSetPt | Temperature | WD | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sat | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sun | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
HtgSetPt | Temperature | WD | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | Highlight indicates
|  | Sat | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | difference with common
|  | Sun | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | areas
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sun | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sun | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6 | 7884
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
Gas Equip | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 | 1058.5 |  | Highlight indicates
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | difference with common
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | areas
Elevator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55 | 2025.75
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
Escalator | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
SSPC90.1 Schedule D (Dormitory, Multifamily) | [30 empty] | Applies to
Occupants | Fraction | Mon – Fri | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 | 6040.75 | Hotel
|  | Sat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Motel
|  | Sun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Penitentiary
Lighting | Fraction | Mon – Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9 | 2883.5
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
Plug Loads | Fraction | Mon – Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
|  | Sun | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | Mon – Fri | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Cooling Setpoint | Temperature | Mon – Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  | Odd that the same temperature applies to both heating and cooling
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sun | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Heating Setpoint | Temperature | Mon – Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sun | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Original COMNET C-3 Hotel/Motel
Occupancy | Fraction | Wk | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5017.7
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.5 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.6 | 0.6 | 0.6 | 0.7 | 0.7 | 0.7 | 0.9 | 0.3 | 13.9
|  | Sun | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.5 | 0.5 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.6 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | 13
Lighting Receptacle | Fraction | Wk | 0.2 | 0.15 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.5 | 0.4 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 8.55 | 3056.45
|  | Sat | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.7 | 0.7 | 0.7 | 0.6 | 0.3 | 0.7 | 0.1 | 7.85
|  | Sun | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5 | 0.7 | 0.8 | 0.6 | 0.5 | 0.3 | 0.8 | 0.2 | 8.1
HVAC System | On/Off | Wk | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Service Hot Water | Fraction | Wk | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.5 | 0.6 | 0.55 | 0.45 | 0.4 | 0.45 | 0.4 | 0.35 | 0.3 | 0.3 | 0.3 | 0.4 | 0.55 | 0.6 | 0.5 | 0.55 | 0.45 | 0.25 | 0.6 | 0.15 | 9 | 3300.6
|  | Sat | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.4 | 0.5 | 0.5 | 0.5 | 0.45 | 0.5 | 0.5 | 0.45 | 0.4 | 0.4 | 0.35 | 0.4 | 0.55 | 0.55 | 0.5 | 0.55 | 0.4 | 0.3 | 0.55 | 0.15 | 9.3
|  | Sun | 0.25 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.55 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.5 | 0.4 | 0.2 | 0.55 | 0.2 | 9
Elevator | Fraction | Wk | 0.4 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.42 | 0.42 | 0.52 | 0.52 | 0.4 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.63 | 0.8 | 0.86 | 0.7 | 0.7 | 0.7 | 0.45 | 0.45 | 0.86 | 0.33 | 12.17 | 4530.17
|  | Sat | 0.44 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.4 | 0.32 | 0.45 | 0.45 | 0.42 | 0.6 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.75 | 0.8 | 0.8 | 0.75 | 0.75 | 0.55 | 0.55 | 0.8 | 0.32 | 13.03
|  | Sun | 0.55 | 0.55 | 0.43 | 0.43 | 0.43 | 0.43 | 0.52 | 0.52 | 0.65 | 0.65 | 0.53 | 0.6 | 0.53 | 0.51 | 0.5 | 0.44 | 0.64 | 0.62 | 0.65 | 0.63 | 0.63 | 0.63 | 0.4 | 0.4 | 0.65 | 0.4 | 12.87

## C-15 Dormitory
COMNET Appendix C - Schedules (Rev 3)
Updated June 25, 2023
C-15 Dormitory | [12 empty] | Hour Ending
Description | Type | Day | 1am | 2am | 3am | 4am | 5am | 6am | 7am | 8am | 9am | 10am | 11am | 12am | 1pm | 2pm | 3pm | 4pm | 5pm | 6pm | 7pm | 8pm | 9pm | 10pm | 11pm | 12pm | Max | Min | Sum | Year |  | Source/Notes | General Notes
Occupancy | Fraction | WD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.5 | 18.6 | 7131 |  | SSPC 90.1 | Used for:
|  | Fri | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.8 | 21.6 |  |  |  | Dormitory
|  | Sat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.8 | 21.6 |  |  |  | Multifamily
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1 | 2591.5 |  | SSPC 90.1
|  | Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.1
Receptacle | Fraction | WD | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840 |  | SSPC 90.1
|  | Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 |  |  | Receptacle = rest of appliances
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | SSPC 90.1 | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | Derived from CEC infiltration | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | schedule | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
ClgSetPt | Temperature | WD | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |  | SSPC 90.1
|  | Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
HtgSetPt | Temperature | WD | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 |  |  | SSPC 90.1
|  | Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628 |  | CEC
|  | Fri | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 |  |  | CEC
|  | Fri | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Gas Equip | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elevator | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Escalator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CEC Appendix 5.4B Residential Occupancy Living Areas (Including Hotel/Motel Guest Rooms) with Setback Thermostat for Heating
ResidentialLiving |  | :Schedule Name
Hour of Day
Description |  | Daily Sch | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Max | Min | Sum | Year
Occupancy | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5073.5
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Receptacle | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Infiltration | Fraction | WD | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6 | 2190
|  | Sat | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
|  | Sun | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
ClgSetPt | Temperature | WD | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sat | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sun | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
HtgSetPt | Temperature | WD | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | Highlight indicates
|  | Sat | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | difference with common
|  | Sun | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | areas
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sun | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sun | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6 | 7884
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
Gas Equip | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 | 1058.5 |  | Highlight indicates
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | difference with common
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | areas
Elevator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55 | 2025.75
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
Escalator | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
SSPC90.1 Schedule D (Dormitory, Multifamily) | [30 empty] | Applies to
Occupants | Fraction | Mon – Fri | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 | 6040.75 | Hotel
|  | Sat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Motel
|  | Sun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Penitentiary
Lighting | Fraction | Mon – Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9 | 2883.5
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
Plug Loads | Fraction | Mon – Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
|  | Sun | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | Mon – Fri | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Cooling Setpoint | Temperature | Mon – Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  | Odd that the same temperature applies to both heating and cooling
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sun | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Heating Setpoint | Temperature | Mon – Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sun | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Original COMNET C-3 Hotel/Motel
Occupancy | Fraction | Wk | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5017.7
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.5 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.6 | 0.6 | 0.6 | 0.7 | 0.7 | 0.7 | 0.9 | 0.3 | 13.9
|  | Sun | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.5 | 0.5 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.6 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | 13
Lighting Receptacle | Fraction | Wk | 0.2 | 0.15 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.5 | 0.4 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 8.55 | 3056.45
|  | Sat | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.7 | 0.7 | 0.7 | 0.6 | 0.3 | 0.7 | 0.1 | 7.85
|  | Sun | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5 | 0.7 | 0.8 | 0.6 | 0.5 | 0.3 | 0.8 | 0.2 | 8.1
HVAC System | On/Off | Wk | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Service Hot Water | Fraction | Wk | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.5 | 0.6 | 0.55 | 0.45 | 0.4 | 0.45 | 0.4 | 0.35 | 0.3 | 0.3 | 0.3 | 0.4 | 0.55 | 0.6 | 0.5 | 0.55 | 0.45 | 0.25 | 0.6 | 0.15 | 9 | 3300.6
|  | Sat | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.4 | 0.5 | 0.5 | 0.5 | 0.45 | 0.5 | 0.5 | 0.45 | 0.4 | 0.4 | 0.35 | 0.4 | 0.55 | 0.55 | 0.5 | 0.55 | 0.4 | 0.3 | 0.55 | 0.15 | 9.3
|  | Sun | 0.25 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.55 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.5 | 0.4 | 0.2 | 0.55 | 0.2 | 9
Elevator | Fraction | Wk | 0.4 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.42 | 0.42 | 0.52 | 0.52 | 0.4 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.63 | 0.8 | 0.86 | 0.7 | 0.7 | 0.7 | 0.45 | 0.45 | 0.86 | 0.33 | 12.17 | 4530.17
|  | Sat | 0.44 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.4 | 0.32 | 0.45 | 0.45 | 0.42 | 0.6 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.75 | 0.8 | 0.8 | 0.75 | 0.75 | 0.55 | 0.55 | 0.8 | 0.32 | 13.03
|  | Sun | 0.55 | 0.55 | 0.43 | 0.43 | 0.43 | 0.43 | 0.52 | 0.52 | 0.65 | 0.65 | 0.53 | 0.6 | 0.53 | 0.51 | 0.5 | 0.44 | 0.64 | 0.62 | 0.65 | 0.63 | 0.63 | 0.63 | 0.4 | 0.4 | 0.65 | 0.4 | 12.87

## C-16 Hotel employees
COMNET Appendix C - Schedules (Rev 3)
Updated June 25, 2023
C-16 Hotel employees | [12 empty] | Hour Ending
Description | Type | Day | 1am | 2am | 3am | 4am | 5am | 6am | 7am | 8am | 9am | 10am | 11am | 12am | 1pm | 2pm | 3pm | 4pm | 5pm | 6pm | 7pm | 8pm | 9pm | 10pm | 11pm | 12pm | Max | Min | Sum | Year |  | Source/Notes | General Notes
Occupancy | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.6 | 0.5 | 0.4 | 0.4 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.7 | 0.9 | 0.9 | 0.9 | 0.4 | 15.5 | 5463.7 |  | SSPC 90.1 | Used for:
|  | Fri | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.6 | 0.9 | 0.9 | 0.9 | 0.3 | 13.8 |  |  |  | Dormitory
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.4 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.6 | 0.9 | 0.9 | 0.9 | 0.3 | 13.8 |  |  |  | Multifamily
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.6 | 0.7 | 0.7 | 0.8 | 0.8 | 0.6 | 0.8 | 0.1 | 6.8 | 2482 |  | SSPC 90.1
|  | Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.6 | 0.7 | 0.7 | 0.8 | 0.8 | 0.6 | 0.8 | 0.1 | 6.8
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.6 | 0.7 | 0.7 | 0.8 | 0.8 | 0.6 | 0.8 | 0.1 | 6.8
Receptacle | Fraction | WD | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840 |  | SSPC 90.1
|  | Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 |  |  | Receptacle = rest of appliances
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | SSPC 90.1 | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | Derived from CEC infiltration | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | schedule | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
ClgSetPt | Temperature | WD | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  |  | SSPC 90.1
|  | Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
HtgSetPt | Temperature | WD | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 |  |  | SSPC 90.1
|  | Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628 |  | CEC
|  | Fri | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 |  |  | CEC
|  | Fri | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Gas Equip | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elevator | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 |  | COMNET defaults are based on | bar: 1am to Hour Ending 12pm
|  | Fri | [24 empty] | 1 | 1 | 24 |  |  | continuous operation | bar: 1am to Hour Ending 12pm
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1am to Hour Ending 12pm
Escalator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | COMNET defaults are based on
|  | Fri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | continuous operation
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CEC Appendix 5.4B Residential Occupancy Living Areas (Including Hotel/Motel Guest Rooms) with Setback Thermostat for Heating
ResidentialLiving |  | :Schedule Name
Hour of Day
Description |  | Daily Sch | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Max | Min | Sum | Year
Occupancy | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5073.5
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9
Lights | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Receptacle | Fraction | WD | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9 | 3285
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.45 | 0.45 | 0.45 | 0.45 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 9
Infiltration | Fraction | WD | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6 | 2190
|  | Sat | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
|  | Sun | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 6
HVAC Avail | OnOff | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
ClgSetPt | Temperature | WD | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sat | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
|  | Sun | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | 78
HtgSetPt | Temperature | WD | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | Highlight indicates
|  | Sat | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | difference with common
|  | Sun | 60 | 60 | 60 | 60 | 60 | 60 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 60 | 60 | 68 | 60 | 65.3333 |  |  | areas
Service Hot Water | Fraction | WD | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2 | 2628
|  | Sat | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
|  | Sun | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.8 | 0.7 | 0.5 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.5 | 0.6 | 0.7 | 0.7 | 0.4 | 0.25 | 0.2 | 0.2 | 0.05 | 0.05 | 0.8 | 0 | 7.2
WtrHtrSetPt | Temperature | WD | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sat | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
|  | Sun | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Refrigeration | Fraction | WD | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6 | 7884
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
|  | Sun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 21.6
Gas Equip | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 | 1058.5 |  | Highlight indicates
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | difference with common
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 0 | 0.2 | 0.2 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 2.9 |  |  | areas
Elevator | Fraction | WD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55 | 2025.75
|  | Sat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
|  | Sun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35 | 0.69 | 0.43 | 0.37 | 0.43 | 0.58 | 0.48 | 0.37 | 0.37 | 0.46 | 0.62 | 0.2 | 0.12 | 0.04 | 0.04 | 0 | 0 | 0.69 | 0 | 5.55
Escalator | Fraction | WD | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
SSPC90.1 Schedule D (Dormitory, Multifamily) | [30 empty] | Applies to
Occupants | Fraction | Mon – Fri | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 | 6040.75 | Hotel
|  | Sat | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Motel
|  | Sun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.3 | 0.5 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1 | 0.25 | 16.55 |  | Penitentiary
Lighting | Fraction | Mon – Fri | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9 | 2883.5
|  | Sat | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
|  | Sun | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.4 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1 | 0.7 | 0.4 | 0.2 | 1 | 0.1 | 7.9
Plug Loads | Fraction | Mon – Fri | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16 | 5840
|  | Sat | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
|  | Sun | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.7 | 0.6 | 1 | 0.4 | 16
Infiltration | Fraction | Mon – Fri | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Cooling Setpoint | Temperature | Mon – Fri | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 |  | Odd that the same temperature applies to both heating and cooling
|  | Sat | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  | Sun | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Heating Setpoint | Temperature | Mon – Fri | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sat | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  | Sun | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Original COMNET C-3 Hotel/Motel
Occupancy | Fraction | Wk | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.4 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.7 | 0.7 | 0.8 | 0.9 | 0.9 | 0.9 | 0.2 | 13.9 | 5017.7
|  | Sat | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.5 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.6 | 0.6 | 0.6 | 0.7 | 0.7 | 0.7 | 0.9 | 0.3 | 13.9
|  | Sun | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.5 | 0.5 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.6 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | 13
Lighting Receptacle | Fraction | Wk | 0.2 | 0.15 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.5 | 0.4 | 0.4 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.8 | 0.9 | 0.8 | 0.6 | 0.3 | 0.9 | 0.1 | 8.55 | 3056.45
|  | Sat | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.6 | 0.7 | 0.7 | 0.7 | 0.6 | 0.3 | 0.7 | 0.1 | 7.85
|  | Sun | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5 | 0.7 | 0.8 | 0.6 | 0.5 | 0.3 | 0.8 | 0.2 | 8.1
HVAC System | On/Off | Wk | [24 empty] | 1 | 1 | 24 | 8760 | bar: 1 to Hour of Day 24
|  | Sat | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
|  | Sun | [24 empty] | 1 | 1 | 24 | bar: 1 to Hour of Day 24
Service Hot Water | Fraction | Wk | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.5 | 0.6 | 0.55 | 0.45 | 0.4 | 0.45 | 0.4 | 0.35 | 0.3 | 0.3 | 0.3 | 0.4 | 0.55 | 0.6 | 0.5 | 0.55 | 0.45 | 0.25 | 0.6 | 0.15 | 9 | 3300.6
|  | Sat | 0.2 | 0.15 | 0.15 | 0.15 | 0.2 | 0.25 | 0.4 | 0.5 | 0.5 | 0.5 | 0.45 | 0.5 | 0.5 | 0.45 | 0.4 | 0.4 | 0.35 | 0.4 | 0.55 | 0.55 | 0.5 | 0.55 | 0.4 | 0.3 | 0.55 | 0.15 | 9.3
|  | Sun | 0.25 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.5 | 0.5 | 0.5 | 0.55 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.5 | 0.5 | 0.4 | 0.5 | 0.4 | 0.2 | 0.55 | 0.2 | 9
Elevator | Fraction | Wk | 0.4 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.42 | 0.42 | 0.52 | 0.52 | 0.4 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.63 | 0.8 | 0.86 | 0.7 | 0.7 | 0.7 | 0.45 | 0.45 | 0.86 | 0.33 | 12.17 | 4530.17
|  | Sat | 0.44 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.4 | 0.32 | 0.45 | 0.45 | 0.42 | 0.6 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.75 | 0.8 | 0.8 | 0.75 | 0.75 | 0.55 | 0.55 | 0.8 | 0.32 | 13.03
|  | Sun | 0.55 | 0.55 | 0.43 | 0.43 | 0.43 | 0.43 | 0.52 | 0.52 | 0.65 | 0.65 | 0.53 | 0.6 | 0.53 | 0.51 | 0.5 | 0.44 | 0.64 | 0.62 | 0.65 | 0.63 | 0.63 | 0.63 | 0.4 | 0.4 | 0.65 | 0.4 | 12.87